## DataETL
T | name | description | deviceId | deviceType | deviceLogic | gatewayId | remark
23 | ThreeInOne#1 | Area 1 | 00124b0019309d9a | 3 | 3 | 149 | 3 | ThreeInOne和TwoInOne是rawData -> iotmgmt的name，確認rawData -> dataETL 需要用ThreeInOne還是直接寫到對應的temp, co2和humidity?
23 | ThreeInOne#2 | Area 2 | 00124b0019309d68 | 3 | 3 | 149 | 3
29 | ThreeInOne#1 | IAQ Sensor 1 | 00124b0019309c69 | 3 | 3 | 140 | 3
29 | ThreeInOne#2 | IAQ Sensor 2 | 00124b0019309c7b | 3 | 3 | 140 | 3
30 | ThreeInOne#1 | IAQ A CO2 Sensor | 00124b0019309dc4 | 3 | 3 | 142 | 3
30 | ThreeInOne#2 | IAQ B CO2 Sensor | 00124b0019309d7f | 3 | 3 | 142 | 3
31 | ThreeInOne#1 | IAQ Sensor#1 | 00124b0019309d86 | 3 | 3 | 146 | 3
31 | ThreeInOne#2 | IAQ Sensor#2 | 00124b0019309da4 | 3 | 3 | 147 | 3
32 | ThreeInOne#1 | Procurement Area | 00124b0019309da0 | 3 | 3 | 144 | 3 | 在這個case，我們寫到dataETL的時候是分temp#4, humidity#4和co2#1。是否將co2#1改成co2#4與前兩者的號碼同步
32 | ThreeInOne#2 | Board Room | 00124b0019309d7b | 3 | 3 | 144 | 3
45 | ThreeInOne#1 | IAQ Sensor 1 CO2 | 00124b0019309d4c | 3 | 3 | 169 | 3
45 | ThreeInOne#2 | IAQ Sensor 2 CO2 | 00124b00192f2409 | 3 | 3 | 169 | 3
48 | ThreeInOne#1 | IAQ Sensor 1 | 00124b00060cca75 | 3 | 3 | 180 | 3
48 | ThreeInOne#2 | IAQ Sensor 2 | 00124b00192f274e | 3 | 3 | 180 | 3
52 | ThreeInOne#1 | IAQ Sensor 1 | 00124b00192f2429 | 3 | 3 | 182 | 3
52 | ThreeInOne#2 | IAQ Sensor 2 | 00124b00192f2757 | 3 | 3 | 182 | 3
52 | ThreeInOne#3 | IAQ Sensor 3 | 00124b00060cca86 | 3 | 3 | 182 | 3
53 | ThreeInOne#1 | CO2 Sensor 1 | 00124b00192f22e2 | 3 | 3 | 211 | 3
53 | ThreeInOne#2 | CO2 Sensor 2 | 00124b00192f28a9 | 3 | 3 | 211 | 3
53 | ThreeInOne#3 | CO2 Sensor 3 | 00124b00192f28b4 | 3 | 3 | 211 | 3
53 | ThreeInOne#4 | CO2 Sensor 4 | 00124b0019309cda | 3 | 3 | 211 | 3
53 | ThreeInOne#5 | CO2 Sensor 5 | 00124b0019309d2f | 3 | 3 | 211 | 3
53 | ThreeInOne#6 | CO2 Sensor 6 | 00124b0019309eb9 | 3 | 3 | 211 | 3
56 | ThreeInOne#1 | Level 2 Zone A | 00124b00192f273c | 3 | 3 | 188 | 3
56 | ThreeInOne#10 | Level 5 Zone A | 00124b0019309d18 | 3 | 3 | 188 | 3
56 | ThreeInOne#11 | Level 5 Zone B | 00124b0019309d24 | 3 | 3 | 215 | 3
56 | ThreeInOne#12 | Level 5 Zone C | 00124b00192f2884 | 3 | 3 | 213 | 3
56 | ThreeInOne#13 | Level 6 Zone A | 00124b0019309dc6 | 3 | 3 | 214 | 3
56 | ThreeInOne#14 | Level 6 Zone B | 00124b00192f25a8 | 3 | 3 | 214 | 3
56 | ThreeInOne#15 | Level 6 Zone C | 00124b00192f2880 | 3 | 3 | 212 | 3
56 | ThreeInOne#2 | Level 2 Zone B | 00124b0019309cd0 | 3 | 3 | 188 | 3
56 | ThreeInOne#3 | Level 2 Zone C | 00124b00192f2400 | 3 | 3 | 190 | 3
56 | ThreeInOne#4 | Level 3 Zone A | 00124b0019309cea | 3 | 3 | 188 | 3
56 | ThreeInOne#5 | Level 3 Zone B | 00124b0019309dac | 3 | 3 | 188 | 3
56 | ThreeInOne#6 | Level 3 Zone C | 00124b0019309ce5 | 3 | 3 | 187 | 3
56 | ThreeInOne#7 | Level 4 Zone A | 00124b0019309d43 | 3 | 3 | 188 | 3
56 | ThreeInOne#8 | Level 4 Zone B | 00124b0019309bd7 | 3 | 3 | 196 | 3
56 | ThreeInOne#9 | Level 4 Zone C | 00124b0019309d35 | 3 | 3 | 191 | 3
65 | ThreeInOne#1 | Server Room | 00124b00192f22e8 | 3 | 3 | 209 | 3
66 | ThreeInOne#1 | Office | 00124b0019309c33 | 3 | 3 | 228 | 3
85 | ThreeInOne#1 | Learning HubServer Room IAQ Sensor | 00124b00192f22eb | 3 | 3 | 210 | 3
88 | ThreeInOne#1 | Classroom IAQ | 00124b00192f243b | 3 | 3 | 252 | 3
12 | TwoInOne#1 | TempHumidity#Level2 | 00124b0019309a80 | 3 | 1 | 116 | 3-1
12 | TwoInOne#2 | TempHumidity#ServerRoom | 00124b00192f2715 | 3 | 1 | 116 | 3-2
15 | TwoInOne#1 | Cleanroom A SHT | 00124b00192f28b3 | 3 | 1 | 159 | 3-3
15 | TwoInOne#2 | Cleanroom B SHT | 00124b0019309b5e | 3 | 1 | 159 | 3-4
15 | TwoInOne#3 | Common Area Temperature | 00124b0019309a00 | 3 | 1 | 159 | 3-5
16 | TwoInOne#1 | Production Floor 1(SHT0011) | 00124b0019309a12 | 3 | 1 | 119 | 3-6
16 | TwoInOne#2 | Production Floor 2(SHT0027) | 00124b00192f270b | 3 | 1 | 119 | 3-7
17 | TwoInOne#1 | Level 11 Storage - 1 SHT | 00124b00192f25fd | 3 | 1 | 120 | 3-8
17 | TwoInOne#2 | Level 9 Storage SHT | 00124b0019309a4b | 3 | 1 | 120 | 3-9
17 | TwoInOne#3 | Level 8 Storage SHT22 | 00124b00192f272b | 3 | 1 | 120 | 3-10
17 | TwoInOne#4 | Level 11 Storage - 3 SHT | 00124b00193099ee | 3 | 1 | 120 | 3-11
17 | TwoInOne#5 | Level 11 Storage - 2 SHT | 00124b0019309a30 | 3 | 1 | 120 | 3-12
20 | TwoInOne#1 | Meat Processing Room (1) | 00124b00192f0721 | 3 | 1 | 135 | 3-13
20 | TwoInOne#2 | Meat Processing Room (2) | 00124b00192f275a | 3 | 1 | 135 | 3-14
20 | TwoInOne#3 | Slicing & Packing Room (Cooked) | 00124b00192f273b | 3 | 1 | 135 | 3-15
20 | TwoInOne#4 | Cartoning Area | 00124b00192f274d | 3 | 1 | 135 | 3-16
27 | TwoInOne#1 | DC | 00124b00192f070f | 3 | 1 | 137 | 3-17
28 | TwoInOne#1 | Unit 1 | 00124b00192f2883 | 3 | 1 | 134 | 3-18
28 | TwoInOne#2 | Unit 2 | 00124b00192f2775 | 3 | 1 | 134 | 3-19
28 | TwoInOne#3 | Unit 3 | 00124b0019309a2c | 3 | 1 | 134 | 3-20
29 | TwoInOne#1 | Area 1 | 00124b0019309a9b | 3 | 1 | 140 | 3-21 | ThreeInOne#3
29 | TwoInOne#2 | Area 2 | 00124b00192f0712 | 3 | 1 | 140 | 3-22 | ThreeInOne#4
30 | TwoInOne#1 | Level 1 Reception | 00124b00060cca05 | 3 | 1 | 142 | 3-23 | ThreeInOne#3
30 | TwoInOne#2 | Server Room | 00124b0019309a3a | 3 | 1 | 142 | 3-24 | ThreeInOne#4
32 | TwoInOne#1 | P/R Area | 00124b00192f1057 | 3 | 1 | 144 | 3-25
32 | TwoInOne#2 | Project Area | 00124b00192f1064 | 3 | 1 | 144 | 3-26
32 | TwoInOne#3 | Drafting Area | 00124b0019309a3c | 3 | 1 | 144 | 3-27
39 | TwoInOne#1 | Office A SHT | 00124b00192f1089 | 3 | 1 | 160 | 3-28
39 | TwoInOne#2 | Office B SHT | 00124b00192f105c | 3 | 1 | 160 | 3-29
39 | TwoInOne#3 | Ancillary Office A SHT | 00124b00192f107b | 3 | 1 | 160 | 3-30
39 | TwoInOne#4 | Ancillary Office B SHT | 00124b0019309a23 | 3 | 1 | 160 | 3-31
48 | TwoInOne#1 | Area 1 | 00124b0019309a67 | 3 | 1 | 180 | 3-32 | ThreeInOne#3
48 | TwoInOne#2 | Area 2 | 00124b00192f2726 | 3 | 1 | 180 | 3-33 | ThreeInOne#4
48 | TwoInOne#3 | Area 3 | 00124b0019309b11 | 3 | 1 | 180 | 3-34 | ThreeInOne#5
48 | TwoInOne#4 | Area 4 | 00124b00192f25b8 | 3 | 1 | 180 | 3-35 | ThreeInOne#6
48 | TwoInOne#5 | Area 5 | 00124b0019309b4e | 3 | 1 | 180 | 3-36 | ThreeInOne#7
52 | TwoInOne#1 | Area 1 | 00124b00193099db | 3 | 1 | 182 | 3-37 | ThreeInOne#4
52 | TwoInOne#2 | Area 2 | 00124b00192f25cd | 3 | 1 | 182 | 3-38 | ThreeInOne#5
52 | TwoInOne#3 | Area 3 | 00124b0019309a2a | 3 | 1 | 182 | 3-39 | ThreeInOne#6
52 | TwoInOne#4 | Area 4 | 00124b00193099e2 | 3 | 1 | 182 | 3-40 | ThreeInOne#7
64 | TwoInOne#1 | Outside Air | 208_086 | 3 | 2 | 208 | 3-2
Note on H2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: 參考threeInOne.sh
Note on H44: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: twoInOne_3-1_dataETL.py
Note on H84: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: twoInOne_3-2_dataETL.py

## DeviceLogic
deviceType | description | logicId | logicDesc | dataTableRaw | dataTableETL
3 | 2 in 1 | 1 | I2C | zigbee | twoInOne
3 | 2 in 1 | 2 | BACnet | zigbee | twoInOne
3 | 3 in 1 | 3 | eYc THG03 | zigbee | threeInOne