## DataETL
siteId | name | description | deviceId | deviceType | deviceLogic | gatewayId | remark
10 | FlowU#1 | ChilledWaterFlow#HDR | 00124b000be4cca2 | 6 | 1 | 110
14 | FlowU#1 | To water tank | 00124b0019309e4b | 6 | 1 | 118
14 | FlowU#2 | Direct Feed | 00124b00192f25cb | 6 | 1 | 118
14 | FlowU#3 | Main water supply | 00124b00192f274a | 6 | 1 | 118 | 4/25 change to 00124b00192f1039?
14 | FlowU#4 | Hydroponics | 00124b00060cc9b3 | 6 | 1 | 118
16 | FlowU#1 | Waste Water Room | 00124b00060ca781 | 6 | 1 | 119 | 00124b000be4e85f
16 | FlowU#2 | Boiler Room | 00124b00060ca953 | 6 | 1 | 119 | 00124b000be4e86c
16 | FlowU#3 | Glue Room | 00124b00192f2701 | 6 | 1 | 119 | 00124b0019309b1f
18 | FlowU#1 | MakeUpWaterPipe | 00124b00192f28aa | 6 | 1 | 127 | flow#1 in data mapping
18 | FlowU#2 | BlowDownPipe | 00124b00192f2730 | 6 | 1 | 127 | flow#2 in data mapping
21 | FlowU#1 | CH-1 CHW Flow | 00124b0019309a28 | 6 | 1 | 136 | no info in data mapping
21 | FlowU#2 | CH-1 CW Flow | 00124b00192f25fb | 6 | 1 | 136 | no info in data mapping
21 | FlowU#3 | CH-2 CHW Flow | 00124b00192f271f | 6 | 1 | 136 | no info in data mapping
21 | FlowU#4 | CH-2 CW Flow | 00124b00192f2898 | 6 | 1 | 136 | no info in data mapping
21 | FlowU#5 | CH-3 CHW Flow | 00124b00192f2746 | 6 | 1 | 136 | no info in data mapping
21 | FlowU#6 | CH-3 CW Flow | 00124b00192f2751 | 6 | 1 | 136 | no info in data mapping
22 | FlowU#1 | Water Tank Incoming | 00124b00192f2892 | 6 | 1 | 138
22 | FlowU#2 | Dormitory | 00124b00192f25c7 | 6 | 1 | 139
22 | FlowU#3 | Office | 00124b00192f25c6 | 6 | 1 | 138
22 | FlowU#4 | Production Area | 00124b00192f2719 | 6 | 1 | 138
22 | FlowU#5 | Green Wall | 00124b000be4e9fc | 6 | 1 | 138
25 | FlowU#1 | MakeUpWaterPipe | 00124b00192f270c | 6 | 1 | 131
25 | FlowU#2 | BlowDownPipe | 00124b0019309df2 | 6 | 1 | 131
26 | FlowU#1 | MakeUpWaterPipe | 00124b00192f25e4 | 6 | 1 | 129
26 | FlowU#2 | BlowDownPipe | 00124b00192f2706 | 6 | 1 | 129
29 | FlowU#1 | Make-up Water | 00124b00192f2736 | 6 | 1 | 141
29 | FlowU#2 | Bleed-off Water | 00124b00192f2716 | 6 | 1 | 141
30 | FlowU#1 | Building | 00124b0019309dfd | 6 | 1 | 142
32 | FlowU#1 | Dorm Rooftop Toilets | 00124b00060ca957 | 6 | 1 | 144
32 | FlowU#2 | Level 2 Toilet A | 00124b00192f2779 | 6 | 1 | 144
32 | FlowU#3 | Level 2 Toilet B | 00124b00192f25e8 | 6 | 1 | 144
32 | FlowU#4 | Level 1 Guard House Toilet | 00124b000be4e81b | 6 | 1 | 144
32 | FlowU#5 | Level 1 Tanker | 00124b0019309d61 | 6 | 1 | 144
40 | FlowU#1 | External | 00124b0019309a38 | 6 | 1 | 156 | 00124b0019309a9f
40 | FlowU#2 | Level 2 Dormitory | 00124b00192f274c | 6 | 1 | 157
40 | FlowU#3 | Level 3 Dormitory | 00124b00192f1f50 | 6 | 1 | 157 | 00124b0019309a48
40 | FlowU#4 | Level 4 Dormitory | 00124b00060ca77d | 6 | 1 | 157
42 | FlowU#1 | HDR CHW Flowrate | 00124b00192f28ba | 6 | 1 | 167
42 | FlowU#2 | Boiler Feedwater Flow rate | 00124b00060cca0a | 6 | 1 | 167 | 2/23 00124b000be4ea13更換成00124b00060cca0a
45 | FlowU#1 | PUB - Landscape | 00124b00060cca45 | 6 | 1 | 170
45 | FlowU#2 | Lvl 4,5 & 5 Mezzanine Toilet | 00124b000be4ea11 | 6 | 1 | 169
45 | FlowU#3 | Lvl 2 & 3 Toilet | 00124b00192f2702 | 6 | 1 | 169
45 | FlowU#4 | Lvl 5 & 5 Mezzanine Toilet | 00124b000be4ea42 | 6 | 1 | 169
45 | FlowU#5 | Lvl 5 Mezzanine Toilet | 00124b00192f2756 | 6 | 1 | 169
45 | FlowU#6 | Landscape | 00124b00192f2727 | 6 | 1 | 170
45 | FlowU#7 | Rainwater Collection | 00124b00192f273f | 6 | 1 | 170
47 | FlowU#1 | HDR CW Flowrate | 00124b00192f2749 | 6 | 1 | 172
48 | FlowU#1 | Make-up Water | 00124b00192f1f4d | 6 | 1 | 177
48 | FlowU#2 | Bleed-off Water | 00124b000be4e9ef | 6 | 1 | 180
52 | FlowU#2 | Bleed-off Water 1 | 00124b000be4ea25 | 6 | 1 | 179
52 | FlowU#4 | Bleed-off Water 2 | 00124b00192f277a | 6 | 1 | 178
56 | FlowU#1 | Condensate Tank Supply | 00124b00060cc9e9 | 6 | 1 | 186
56 | FlowU#2 | Level 1 Lab (North) or B1 PRL Lab (South) | 00124b00192f28c0 | 6 | 1 | 189 | 00124b00192f28c0
56 | FlowU#3 | B1 Process Water or B1 Process Water | 00124b000be4e9c1 | 6 | 1 | 195 | 00124b000be4e9c1
56 | FlowU#4 | B2 Process Water or B2 DI Water | 00124b0019309d39 | 6 | 1 | 197
62 | FlowU#1 | Office CW Flowrate | 00124b0019309ea5 | 6 | 1 | 221
62 | FlowU#2 | Production CW Flowrate | 00124b00060cc9f4 | 6 | 1 | 221
65 | FlowU#1 | FCU - Condensate Water | 00124b000be4e825 | 6 | 1 | 209
65 | FlowU#2 | Headquarters Potable Water | 00124b00060cca15 | 6 | 1 | 209
66 | FlowU#1 | Bleed-off Water Consumption | 00124b0019309e7f | 6 | 1 | 224
66 | FlowU#2 | Make-up Water Consumption | 00124b00060cc9ab | 6 | 1 | 227
69 | FlowU#1 | Supply Flow Rate | 00124b00192f2281 | 6 | 1 | 230
69 | FlowU#2 | CD1,2 Return Flow Rate | 00124b00192f1bc4 | 6 | 1 | 230
70 | FlowU#1 | Return Flow Rate | 00124b00192f1f68 | 6 | 1 | 231
70 | FlowU#2 | CD1,2,3 Return Flow Rate | 00124b00192f1f54 | 6 | 1 | 231
71 | FlowU#1 | CH1 Supply Flow Rate | 00124b00192f22a3 | 6 | 1 | 232
71 | FlowU#2 | CD1 Return Flow Rate | 00124b00192f2290 | 6 | 1 | 232
71 | FlowU#3 | CH2 Supply Flow Rate | 00124b00192f2285 | 6 | 1 | 232
71 | FlowU#4 | CD2 Return Flow Rate | 00124b00192f20eb | 6 | 1 | 232
72 | FlowU#1 | CH1,2 Supply Flow Rate | 00124b00192f1bf1 | 6 | 1 | 233
72 | FlowU#2 | CH3,4 Supply Flow Rate | 00124b00192f1bb4 | 6 | 1 | 241
72 | FlowU#3 | CD1,2,3 Return Flow Rate | 00124b00192f1bfb | 6 | 1 | 233 | FlowU#4 要再確認
73 | FlowU#1 | Return Flow Rate | 00124b00192f1bc6 | 6 | 1 | 234
73 | FlowU#2 | CD1,2,3 Return Flow Rate | 00124b00192f1bd3 | 6 | 1 | 234
74 | FlowU#1 | Return Flow Rate | 00124b00192f20ed | 6 | 1 | 245
74 | FlowU#2 | CD1,2,3 Return Flow Rate | 00124b00192f1f58 | 6 | 1 | 245
74 | FlowU#3 | CD4 Return Flow Rate | 00124b00192f2087 | 6 | 1 | 245
75 | FlowU#1 | CH1 Supply Flow Rate | 00124b00192f20df | 6 | 1 | 236
75 | FlowU#2 | CT1 Supply Flow Rate | 00124b00192f20f2 | 6 | 1 | 236
76 | FlowU#1 | Supply Flow Rate | 00124b00192f1f49 | 6 | 1 | 237
76 | FlowU#2 | CD1 Supply Flow Rate | 00124b00192f1f30 | 6 | 1 | 237
76 | FlowU#3 | CD2 Supply Flow Rate | 00124b00192f22af | 6 | 1 | 237
76 | FlowU#4 | CD3 Supply Flow Rate | 00124b00192f1f3a | 6 | 1 | 237
77 | FlowU#1 | Supply Flow Rate | 00124b00192f1bda | 6 | 1 | 238
77 | FlowU#2 | CD1,2,3 Supply Flow Rate | 00124b00192f1be1 | 6 | 1 | 238
78 | FlowU#1 | CH1 Supply Flow Rate | 00124b00192f246e | 6 | 1 | 239
78 | FlowU#10 | CD5 Return Flow Rate | 00124b00192f1f6c | 6 | 1 | 239 | recover, abnormal data
78 | FlowU#2 | CD1 Return Flow Rate | 00124b00192f259d | 6 | 1 | 239
78 | FlowU#3 | CH2 Supply Flow Rate | 00124b00192f2095 | 6 | 1 | 239
78 | FlowU#4 | CD2 Return Flow Rate | 00124b00192f20a4 | 6 | 1 | 239
78 | FlowU#5 | CH3 Supply Flow Rate | 00124b00192f20a8 | 6 | 1 | 239
78 | FlowU#6 | CD3 Return Flow Rate | 00124b00192f20b4 | 6 | 1 | 239
78 | FlowU#7 | CH4 Supply Flow Rate | 00124b00192f20c3 | 6 | 1 | 239
78 | FlowU#8 | CD4 Return Flow Rate | 00124b00192f20d4 | 6 | 1 | 239
78 | FlowU#9 | CH5 Supply Flow Rate | 00124b00192f1f78 | 6 | 1 | 239
79 | FlowU#1 | Condenser1 Supply Flow Rate | 00124b00192f1f5e | 6 | 1 | 240
79 | FlowU#2 | Supply Chiller Flow Rate | 00124b00192f20e1 | 6 | 1 | 240
79 | FlowU#3 | Condenser2 Supply Flow Rate | 00124b00192f20cf | 6 | 1 | 240
79 | FlowU#4 | CHWS Flowrate No.2 | 00124b00192f229f | 6 | 1 | 240
85 | FlowU#3 | Learning Hub Potable Water | 00124b00192f2758 | 6 | 1 | 210
7 | Flow#1 | CoolingWaterFlow#HDR | ppssbms000d | 6 | 4 | 112
7 | Flow#2 | ChilledWaterFlow#HDR | ppssbms000e | 6 | 4 | 112
8 | Flow#1 | CoolingWaterFlow#HDR | ppssbms001d | 6 | 4 | 113
8 | Flow#2 | ChilledWaterFlow#HDR | ppssbms001e | 6 | 4 | 113
8 | Flow#3 | ChilledWaterFlowOffice | ppssbms0023 | 6 | 4 | 113
52 | Flow#1 | tealeAPI | CT L8 | 6 | 3 | 182 | 182_Flow#1(data mapping 的 ieee)
52 | Flow#2 | tealeAPI | CT L50 | 6 | 3 | 182 | 182_Flow#2(data mapping 的 ieee)
11 | Flow#1 | FlowMeter#City | 00124b000be4ea02 | 6 | 2 | 103 | 這個site的flow很亂
11 | Flow#2 | FlowMeter#DI | 00124b00192f275e | 6 | 2 | 103
23 | Flow#1 | CH-1 CHW Flow | 538_3020694 | 6 | 2 | 148
23 | Flow#4 | CH-2 CW Flow | 538_3022360 | 6 | 2 | 148
23 | Flow#5 | HDR CHWS Flow | 538_3022395 | 6 | 2 | 148
23 | Flow#6 | HDR CWS Flow | 538_3020702 | 6 | 2 | 148 | 這個site有Flow#2和Flow#3
24 | Flow#1 | HDR CHW Flow | 13002_00 | 6 | 2 | 152
24 | Flow#2 | HDR CW Flow | 13003_00 | 6 | 2 | 152 | 這個site有Flow#3和Flow#4
44 | Flow#1 | CH-1 CHW Flow | 168_021 | 6 | 2 | 168
44 | Flow#10 | HDR CW Flow | 168_030 | 6 | 2 | 168
44 | Flow#2 | CH-1 CW Flow | 168_022 | 6 | 2 | 168
44 | Flow#3 | CH-2 CHW Flow | 168_023 | 6 | 2 | 168
44 | Flow#4 | CH-2 CW Flow | 168_024 | 6 | 2 | 168
44 | Flow#5 | CH-3 CHW Flow | 168_025 | 6 | 2 | 168
44 | Flow#6 | CH-3 CW Flow | 168_026 | 6 | 2 | 168
44 | Flow#7 | CH-4 CHW Flow | 168_027 | 6 | 2 | 168
44 | Flow#8 | CH-4 CW Flow | 168_028 | 6 | 2 | 168
44 | Flow#9 | HDR CHW Flow | 168_029 | 6 | 2 | 168
48 | Flow#1 | HDR CHW Flow | 174_002 | 6 | 2 | 174
48 | Flow#2 | HDR CW Flow | 174_001 | 6 | 2 | 174
52 | Flow#1 | Make-up Water 1 | 182_Flow#1 | 6 | 2 | 182
52 | Flow#2 | Make-up Water 2 | 182_Flow#2 | 6 | 2 | 182
55 | Flow#1 | CH-1 CHW Flow | 198_005 | 6 | 2 | 198
55 | Flow#10 | CH-5 CW Flow | 198_038 | 6 | 2 | 198
55 | Flow#11 | CH-6 CHW Flow | 198_045 | 6 | 2 | 198
55 | Flow#12 | CH-6 CW Flow | 198_046 | 6 | 2 | 198
55 | Flow#13 | CH-7 CHW Flow | 198_053 | 6 | 2 | 198
55 | Flow#14 | CH-7 CW Flow | 198_054 | 6 | 2 | 198
55 | Flow#15 | HDR 1 CHW Flow | 198_087 | 6 | 2 | 198
55 | Flow#16 | HDR 2 CHW Flow | 198_090 | 6 | 2 | 198
55 | Flow#17 | HDR 1 CW Flow | 198_093 | 6 | 2 | 198
55 | Flow#18 | HDR 2 CW Flow | 198_096 | 6 | 2 | 198
55 | Flow#19 | MO Primary HDR CHW Flow | 198_155 | 6 | 2 | 198
55 | Flow#2 | CH-1 CW Flow | 198_006 | 6 | 2 | 198
55 | Flow#20 | MO HEX_1B_1 Primary Flow | 198_158 | 6 | 2 | 198
55 | Flow#21 | MO HEX_1B_2 Primary Flow | 198_162 | 6 | 2 | 198
55 | Flow#22 | MO HEX_1B_3 Primary Flow | 198_166 | 6 | 2 | 198
55 | Flow#23 | MO HEX_1B_4 Primary Flow | 198_170 | 6 | 2 | 198
55 | Flow#24 | MO HEX_1B_5 Primary Flow | 198_174 | 6 | 2 | 198
55 | Flow#25 | MO HEX_1B_6 Primary Flow | 198_178 | 6 | 2 | 198
55 | Flow#26 | PRC Primary HDR CHW Flow | 198_182 | 6 | 2 | 198
55 | Flow#27 | PRC HEX_1A_1 Primary Flow | 198_185 | 6 | 2 | 198
55 | Flow#28 | PRC HEX_1A_2 Primary Flow | 198_189 | 6 | 2 | 198
55 | Flow#29 | PRC HEX_1A_3 Primary Flow | 198_193 | 6 | 2 | 198
55 | Flow#3 | CH-2 CHW Flow | 198_013 | 6 | 2 | 198
55 | Flow#30 | PRC HEX_1A_4 Primary Flow | 198_197 | 6 | 2 | 198
55 | Flow#31 | PRC HEX_1A_5 Primary Flow | 198_201 | 6 | 2 | 198
55 | Flow#32 | PRC HEX_1A_6 Primary Flow | 198_205 | 6 | 2 | 198
55 | Flow#33 | PP Primary HDR CHW Flow | 198_209 | 6 | 2 | 198
55 | Flow#34 | PP HEX_1 Primary Flow | 198_212 | 6 | 2 | 198
55 | Flow#35 | PP HEX_2 Primary Flow | 198_216 | 6 | 2 | 198
55 | Flow#36 | PP HEX_3 Primary Flow | 198_220 | 6 | 2 | 198
55 | Flow#4 | CH-2 CW Flow | 198_014 | 6 | 2 | 198
55 | Flow#5 | CH-3 CHW Flow | 198_021 | 6 | 2 | 198
55 | Flow#6 | CH-3 CW Flow | 198_022 | 6 | 2 | 198
55 | Flow#7 | CH-4 CHW Flow | 198_029 | 6 | 2 | 198
55 | Flow#8 | CH-4 CW Flow | 198_030 | 6 | 2 | 198
55 | Flow#9 | CH-5 CHW Flow | 198_037 | 6 | 2 | 198
56 | Flow#1 | Gravity Feed (for B2-L4 Toilets) | 00124b00192f2410 | 6 | 2 | 186
56 | Flow#10 | Level 2 Lab (South) | 00124b00192f2725 | 6 | 2 | 190
56 | Flow#11 | Level 1 Lab-1 (North) | 00124b00192f22f3 | 6 | 2 | 189
56 | Flow#12 | Level 1 Lab-2 (South) | 00124b00192f2460 | 6 | 2 | 193
56 | Flow#2 | Pump Feed (for L5-L6 Toilets) | 00124b00192f2598 | 6 | 2 | 186
56 | Flow#3 | Gravity Feed (for B2-L4 Labs) | 00124b00192f2404 | 6 | 2 | 186
56 | Flow#4 | Rooftop Process Water | 00124b0019309cca | 6 | 2 | 186
56 | Flow#5 | Level 4 Lab (North) | 00124b0019309c43 | 6 | 2 | 196
56 | Flow#6 | Level 4 Lab (South) | 00124b00192f22bb | 6 | 2 | 187
56 | Flow#7 | Level 3 Lab (North) | 00124b00192f22e0 | 6 | 2 | 196
56 | Flow#8 | Level 3 Lab (South) | 00124b00192f28a5 | 6 | 2 | 187
56 | Flow#9 | Level 2 Lab (North) | 00124b00192f22c1 | 6 | 2 | 192
60 | Flow#1 | Cooling Tower Main Building | MobusFlow1 | 6 | 2 | 201
60 | Flow#2 | Cooling Tower Annex Building | MobusFlow2 | 6 | 2 | 202
60 | Flow#3 | Production Area | 00124b00060cc9b9 | 6 | 2 | 200
64 | Flow#1 | CWR-1 Flow | 208_011 | 6 | 2 | 208
64 | Flow#2 | CWR-2 Flow | 208_012 | 6 | 2 | 208
64 | Flow#3 | Total CW Flowrate | 208_014 | 6 | 2 | 208
64 | Flow#4 | Total CHW Flowrate | 208_015 | 6 | 2 | 208
64 | Flow#5 | CHW Header Flow 1 | 208_062 | 6 | 2 | 208
64 | Flow#6 | CHW Header Flow 2 | 208_063 | 6 | 2 | 208

## DeviceLogic
deviceType | description | logicId | logicDesc | dataTableRaw | dataTableETL
6 | FlowU | 1 | ultrasonic Flow | zigbee | flowU
6 | Flow | 2 | modbus | zigbee | flow
6 | Flow | 3 | TealeAPI | tealeAPI | flow
6 | Flow | 4 | PPSS | PPSS | flow